## Cover
EPISCOPE Case Study:
Energy Efficiency Scenarios to 2050: England
"EPI Tables"
Documentation of
Energy Performance Indicators
Prepared in the framework
of the European project EPISCOPE
www.episcope.eu | www.episcope.eu
February 2016
{ Logo }
BRE (Building Research Establishment, Garston, Watford, UK)
Energy Performance Indicator Tracking Schemes for the Continuous Optimisation of Refurbishment Processes in European Housing Stocks
Co-funded by the Intelligent Energy Europe
Programme of the European Union

## About
Template for Documentation of Energy Performance Indicators ("EPI Tables")
[6 empty] | Template version: | 2016-03-08
The template for documentation of energy performance indicators has been prepared in the framework of the project EPISCOPE which was mainly funded by the programme Intelligent Energy Europe. The purpose is to report in a concerted way on input and output data of the building stock models and scenario calculations.
The usage of the EPI concept as well of this workbook by third parties is intended and desirable.
Energy Performance Indicator Tracking Schemes for the Continuous Optimisation of Refurbishment Processes in European Housing Stocks
Co-funded by the Intelligent Energy Europe Programme of the European Union
| Contract N°: |  |  | IEE/12/695/SI2.644739 – EPISCOPE
| Coordinator: |  |  | Institut Wohnen und Umwelt, Darmstadt / Germany
| Project duration: |  |  | April 2013 - March 2016
Data Entry Guidance
EPISCOPE Case Studies: Guidance for Data Entry
|  | ► | This data appendix is supposed to address readers who are interested in more detailed results of your scenario calculations.
|  | ► | Give enough explanatory text so the reader can understand the documentation (together with your case study reports and your English project description in EPISCOPE Synthesis Reports SR 2 or SR 3), but keep it short.
|  | ► | Respect the clear separation between "monitoring indicators" (which are based on empirical data) and "scenario indicators".
|  | ► | Stick to the table templates as far as possible: This will facilitate the understanding for other experts.
|  | ► | Individual modifications are possible (in this case: provide additional remarks so that changes come clear to the reader).
|  | ► | Also additional individual data tables may be supplemented, if you like.
|  | ► | If data is not available: The data fields (lines or rows) of the table templates may be deleted.
|  | ► | A first version of the monitoring indicators and of the starting point (basic case) of the scenarios was already provided for the interim report by most partners. Download of these preliminary EPI tables (status: 2014-10) at the internal EPISCOPE website (login first): http://internal.episcope.eu/internal-contract/reports-submitted-to-eacieasme/
Monitoring Indicators
General Rule: Enter only robust empirical data into the monitoring indicators tables.
If data is not available: Keep the fields empty or delete them.
Give the reader an impression of the reliability of data of the main data sources, for example providing some estimation as to the following issues as far as applicable:
|  | ► | Size of the applied sample (100 or 1000 or 10 000)? In case of local case studies also relate the sample size to the total number of considered buildings.
|  | ► | What is the rate of return for the most important questions?
|  | ► | How do you assess the data quality? (in terms of uncertainties of the measured information; only in words, not quantitative)
|  | ► | Is data deemed as representative or might it be biased?
|  | ► | Is data up-to-date?
Scenario Indicators
Report the respective indicators for the trend scenario and if possible for 1 to 2 additional scenarios.
|  | ► | Provide information on the starting year (basic case) and the end year (e.g. 2050) and at least 1-2 additional years in between. In some case studies the partners differentiated between the “basic case” and the current state 2015 (for example if the basic case is based on a survey implemented some years ago). Here it is necessary to provide the numbers for both states (please note, that this may require in some cases an additional column on the left side in the summary indicators tables from SR2/3).
|  | ► | The data of the basic case and of the scenarios are shown as “one value for the whole stock”, that means they are not split for different building types. But the total values of the basic case must correspond to the values in the sheet "Basic Case Details", that means they must be appropriate mean values (e.g. weighted by living space, another reference area or dwelling number) of the “average buildings”.
|  | ► | Two different approaches can be chosen:
- Relate the data to the complete building stock (including new buildings).
- Relate the data to the existing building stock of a certain year only (e.g. the year of the basic case) and follow this building stock over time.
|  | ► | In both cases indicate the building stock in the lines at the top of the table:
e.g. bs 2030 = Building Stock of the year 2030 (including new buildings)
bs..2012¦2030 = Buildings constructed until 2012 in the year 2030. Give a short explanation of that indicator
|  | ► | In both cases: give at least some additional short textual explanation of the assumed development in the new building sector (which insulation standards are achieved? Which heat supply systems are applied?). Alternatively also separate detailed tables of the new buildings subset of the building stock may be provided, if you like.
|  | ► | Give at least some additional short textual explanation of the development in the higher-level electricity and district heating sector, as far as applicable (but also indicate if there are no changes assumed). This also might help to understand the development of the summary indicator carbon dioxide emission per produced heat.
Energy Balance Indicators
Enter the results of the two scenario calculations for the different years. The values should be identical to those displayed in the Synthesis Reports SR 2 and 3.
"Basic Case Details -" Scenario and Energy Balance Indicators by Building Type
The basic cases of all EPISCOPE scenario calculations are documented in form of "average buildings" in the TABULA Webtool (http://webtool.building-typology.eu) area "Building Stocks". The most important input data are identical to the monitoring indicators. The current version of the "average buildings" datasets can be found in sheet "Source TABULA.xlsm - Basic Case" of this workbook. You can directly copy and paste the rows containing your case study values from there into the sheet "Basic Case Details".
Summary Indicators
The summary indicators are designed to give a first and basic overview of the results of scenario analysis of residential building stocks. The format is binding - in contrast to the other indicators. You will find the detailed definitions and further explanations in the EPISCOPE report "Application of Energy Performance Indicators for Residential Building Stocks" (www.episcope.eu/communication/download/)
The sole responsibility for the content of this deliverable lies with the authors. It does not necessarily reflect the opinion of the European Union. Neither the EASME nor the European Commission are responsible for any use that may be made of the information contained therein.

## Data Info
EPISCOPE Case Studies - Documentation of Energy Performance Indicators
General Information
General Information about the monitoring and scenario data documented in this workbook
|  | Country |  | GB/ENG | Great Britain (England only)
|  | Building stock |  | National residential building stock
|  | Person in charge |  | Jack Hulme
|  |  | Organisation | BRE, Building Research Establishment
|  |  | Address | Bucknalls Lane, Garston, Watford, Herts.
|  |  | Country | UK
|  |  | URL | www.bre.co.uk
|  | Date |  | 2016-03-09
Documented study
EPISCOPE Pilot Project: England
http://episcope.eu/fileadmin/episcope/public/docs/pilot_actions/GB_EPISCOPE_NationalCaseStudy_BRE.pdf
Explanations
Monitoring Indicators
The monitoring indicators are based on published data from the English Housing Survey (principally dating from 2011). This is a high quality dataset, used for National Statistics in the UK.
See https://www.gov.uk/government/collections/english-housing-survey
Scenario Indicators
|  | Scenario <1> |  | National report scenario 1 (Trend scenario)
The trend scenario is based on installing those measures which are currently being installed, and have been installed under current energy efficiency schemes and programmes. See National Report for more details
|  | Scenario <2> |  | National report scenario 4 (Ambitious - Long Term Scenario)
See National Report for details.
This scenario is the most ambitious modelled, and includes a comprehensive programme of energy efficiency improvements, including wide scale fuel switching to electric heat pumps accompanied by decarbonisation of the electricity grid.
See National Report for details.
Further scenarios not documented in this workbook
National report scenario 2 and 3 which are long-term scenarios including insulation and boiler upgrades, but without large scale fuel switching except for off-gas network properties.
Energy Balance Indicators
Figures correspond to the ouptuts from Scenarios 1 and 2 and include adjustments using "real ratio" technique.
See national report for details.
Basic Case Details - Scenario and Energy Balance Indicators by Building Type
Nine building types are used for the definition of the TABULA "average buildings".
Summary Indicators
Information about the summary indicators can be found in the description of the England national report.
References
| [1] | Summers, C & Hulme, J; EPISCOPE Pilot Project: England. September 2015.
http://episcope.eu/fileadmin/episcope/public/docs/pilot_actions/GB_EPISCOPE_NationalCaseStudy_BRE.pdf
| [2] | The English Housing Survey.
https://www.gov.uk/government/collections/english-housing-survey

## Monitoring Indicators
M.1 Basic data of the building stock | Complete building stock
bs...
number of buildings | N/A
number of apartments | ~22 million
national reference area [109m²] | 2.1
sources / remarks | EHS data (2010-2013).
M.2.1 Building insulation: Basic information state and trends of modernisation
Complete building stock
walls
insulation improved (from original state) | ~40%
insulation improved (area-weighted) | -
average thickness of improved insulation | N/A
annual rate of insulation improvement | 2%
annual rate of insulation improvement (area-weighted) | -
average thickness of insulation (recent modernisation) | -
roofs / upper floor ceilings
insulation improved (from original state) | ~90%
insulation improved (area-weighted) | -
average thickness of improved insulation | Unknown
annual rate of insulation improvement | 4%
annual rate of insulation improvement (area-weighted) | -
average thickness of insulation (recent modernisation) | 270mm
ground floors / cellar ceilings
insulation improved (from original state) | Very low
insulation improved (area-weighted) | Very low
average thickness of improved insulation | Very low
annual rate of insulation improvement | Very low
annual rate of insulation improvement (area-weighted) | Very low
average thickness of insulation (recent modernisation) | Very low
windows
insulation improved (from original state) | ~75%
insulation improved (area-weighted) | -
average quality of improved windows
annual rate of insulation improvement | 3%
annual rate of insulation improvement (area-weighted) | -
average quality of improved windows (recent modernisations)
sources / remarks:
EHS data (2010-2013).
https://www.gov.uk/government/collections/english-housing-survey
M.2.2 Building insulation: Detailed information of the actual state
Complete building stock
levels of wall insulation (area-weigthed):
Cavity Uninsulated (U ~ 1.7) | ~25%
Cavity Insulated (U ~ 0.5) | ~40%
Solid Uninsulated (U ~ 2.1) | ~30%
Solid Insulated (U ~ 0.5) | <0.5%
roofs / upper floor ceilings
Flat roof or no loft | ~10%
None | <5%
< 100mm | ~15%
100 to 150mm | ~25%
> 150mm | ~50%
ground floors / cellar ceilings
Insulated floors | Very low
windows
Full double glazing | ~75%
More than half double glazing (not full) | ~10%
Less than half double glazing | ~5%
No double glazing | ~10%
sources / remarks
EHS data (2010-2013).
https://www.gov.uk/government/collections/english-housing-survey
M.3.1 Main Heat Supply Systems for Space Heating
modernisation
| Complete building stock | Complete building stock
M.3.1.1 Centralisation of space heating system |  | net modernisation rates
district heating | Very low | Very low
building / apartment heating | 95% | + < 1% per annum
room heating | 5% | - < 1% per annum
M.3.1.2 Main energy carrier for space heating |  | net modernisation rates
district heating | Very low | Very low
gas (natural / liquid gas) | ~85% | + < 1% per annum
oil | ~5% | + < 1% per annum
coal | Very low | Very low
wood/biomass | Very low | Very low
electricity | ~10% | - < 1% per annum
M.3.1.3. Main heat generation system for space heating |  | gross modernisation rates
condensing boiler system | 30% | + approx 7% per annum
non-condensing boiler system | 60% | - Approx 7% per annum
room heater | ~5% | - < 1% per annum
storage radiators | ~5% | Approx 0%
other (communal, warm air, other) | Very low | Very low
sources / remarks
EHS data (2010-2013).
https://www.gov.uk/government/collections/english-housing-survey
M.3.2 Special Systems (additional systems of special interest for space heating, hot water supply, ventilation, including photovoltaics)
modernisation trends (gross rates)
| Complete building stock | Complete building stock
solar thermal systems | Very low | Very low
...for hot water supply only | Very low | Very low
...for heating and hot water supply | Very low | Very low
photovoltaic systems | Very low | Very low
ventilation systems (for buildings/apartments, not only kitchen/WC ventilation) | Very low | Very low
....with heat recovery | Very low | Very low
...without heat recovery | Very low | Very low
sources / remarks
EHS data (2010-2013).
https://www.gov.uk/government/collections/english-housing-survey
M.3.3 Main System of Hot Water Supply
apart from additional solar thermal systems (see above)
Complete building stock
M.3.3.1 Main Energy carrier for hot water supply
district heating | Very low
gas | ~85%
oil | ~5%
coal | Very low
wood/biomass | Very low
electricity | ~10%
M.3.3.2 Main heat generation system for hot water supply
hot water generation combined with heating system:
separate system of hot water generation:
- direct electric heat generation | ~10%
- electric heat pump | 0%
- combustion of fossil fuels | ~90%
- combustion of wood/biomass | 0%
sources / remarks
EHS data (2010-2013).
https://www.gov.uk/government/collections/english-housing-survey
M.4 Final Energy balance: Measured values | Complete building stock
energy consumption in TWh/a (109 kWh/a)
district heating | 5.08
gas | 2464.5738
oil | 260.7399
coal | 73.8552
wood/biomass | 57.8337
electricity | 937.4524
sources / remarks
Energy Consumption in the UK data (adjusted to England), 2011.
https://www.gov.uk/government/collections/energy-consumption-in-the-uk

## Scenario Indicators <1>
Trend scenario (National report scenario 1) | Residential Buildings constructed before 2012 |  | Remarks
| 2012: Basic Case | 2050
| bs2012 = bs…2012¦2012 | bs…2012¦2050
Number of buildings | N/A | N/A | Analysis completed as dwellings
Number of dwellings | 21.9 | 30.7
National reference area [109 m²] | 2.1 | 2.94
TABULA/EPISCOPE reference area [109 m²] | 2.1 | 2.94
Building insulation: state of modernisation
Walls |  |  | percentages related to ....
insulation installed | 41.6% | 61.1% | Number of dwellings
Roofs / upper floor ceilings |  |  | percentages related to ....
insulation improved (from original state) | 83.4% | 84.9% | Number of dwellings with some insulation
Ground floors / cellar ceilings |  |  | percentages related to ....
insulation improved (from original state) | 0% | 0% | Number of dwellings
Windows |  |  | percentages related to ....
insulation improved (from original state) | 89.5% | 89.5% | Number of dwellings with double glazing
Building insulation: Detailed information
levels of wall insulation: |  |  | percentages related to....
Cavity insulated | 40.1% | 59.6% | Number of dwellings
Cavity uninsulated | 28.4% | 8.9%
Solid insulated | 1.5% | 1.5%
Solid uninsulated | 28.2% | 28.2%
Other | 1.8% | 1.8%
levels of roof/upper floor ceiling insulation: |  |  | percentages related to....
No loft | 12.6% | 12.6% | Number of dwellings
None | 4% | 2.5%
0-99mm | 14.9% | 4.3%
100-199mm | 34.4% | 9.5%
200-300mm | 25.2% | 3.2%
>300mm | 8.9% | 67.9%
levels of window insulation: |  |  | percentages related to....
Double glazed | 89.5% | 89.5% | Number of dwellings
Single glazed | 11% | 10.5%
Main Heat Supply Systems for Space Heating
Centralisation of space heating system | 1.8% |  | percentages related to....
district heating | 1.8% | 1.8% | Number of dwellings
building / apartment heating | 95.3% | 95.3%
room heating | 2.9% | 2.9%
Main energy carrier for space heating |  |  | percentages related to....
district heating | 1.8% | 1.8 | Number of dwellings
gas (natural / liquid gas) | 84.8% | 84.7
oil | 3.7% | 2.1
coal | 0.8% | 0.3
wood/biomass | 0.3% | 0.3
electricity | 8.9% | 10.8
Main heat generation system for space heating |  |  | percentages related to....
district heating | 1.8% | 1.8% | Number of dwellings
boiler system | 88.2% | 88.2%
storage radiators | 6.4% | 6.4%
warm air system | 0.6% | 0.6%
room heaters | 2.9% | 2.9%
heat pumps | 0% | 0%
Special Systems |  |  | percentages related to....
solar thermal systems | 0.7% | 0.7% | Number of dwellings
photovoltaic systems | 1% | 1%
remarks
Modelling was undertaken to 2050 only (2020 and 2030 data not available)
Operational Indicators
Trend scenario (National report scenario 1) | Residential Buildings constructed until 2012
| 2012: Basic Case | 2050
| bs2012 = bs…2012¦2012 | bs…2012¦2050
Internal and external boundary conditions for energy balance calculation
Directly heated part of the reference floor area | 100 | 100 | in %
Daily operating time of heating system | 8hrs weekday, 16hrs weekend | 8hrs weekday, 16hrs weekend | h/d
Set-point temperature heating system | 21 | 21 | °C
Average temperature directly heated part | 21 | 21 | °C (heating period)
Average temperature not directly heated part | N/A | N/A | °C (heating period)
Climate dataset | SAP 2012 | SAP 2012
Length of heating period | 8 | 8 | Months
Adaptation factor final energy (for calibration to typical level of measured consumption)
fuels | Variable factor | Variable factor | Factor varied based on energy performance of dwelling
district heating | Variable factor | Variable factor | Factor varied based on energy performance of dwelling
electric energy | Variable factor | Variable factor | Factor varied based on energy performance of dwelling

## Scenario Indicators <2>
Ambitious Long Term (National Report Scenario 4) | Residential Buildings constructed before 2012 |  | Remarks
| 2012: Basic Case | 2050
| bs2012 = bs…2012¦2012 | bs…2012¦2050
Number of buildings | N/A | N/A | Analysis completed as dwellings
Number of dwellings | 21.9 | 30.7
National reference area [109 m²] | 2.1 | 2.94
TABULA/EPISCOPE reference area [109 m²] | 2.1 | 2.94
Building insulation: state of modernisation
Walls |  |  | percentages related to ....
insulation installed | 41.6% | 94% | Number of dwellings
Roofs / upper floor ceilings |  |  | percentages related to ....
insulation improved (from original state) | 83.4% | 87.5% | Number of dwellings
Ground floors / cellar ceilings |  |  | percentages related to ....
insulation improved (from original state) | 0% | 0% | Number of dwellings
Windows |  |  | percentages related to ....
insulation improved (from original state) | 89.5% | 100% | Number of dwellings
Building insulation: Detailed information
levels of wall insulation: |  |  | percentages related to....
Cavity insulated | 40.1% | 64.8% | Number of dwellings
Cavity uninsulated | 28.4% | 3.7%
Solid insulated | 1.5% | 29.2%
Solid uninsulated | 28.2% | 0.5%
Other | 1.8% | 1.8%
levels of roof/upper floor ceiling insulation (area-weigthed): |  |  | percentages related to....
No loft | 12.6% | 12.6% | Number of dwellings
None | 4% | 0%
0-99mm | 14.9% | 0%
100-199mm | 34.4% | 0%
200-299mm | 25.2% | 0%
>300mm | 8.9% | 87.5%
levels of window insulation (area-weigthed): |  |  | percentages related to....
Double glazed | 89.5% | 100% | Number of dwellings
Main Heat Supply Systems for Space Heating
Centralisation of space heating system |  |  | percentages related to....
district heating | 1.8% | 1.8% | Number of dwellings
building / apartment heating | 95.3% | 98%
room heating | 2.9% | 0%
Main energy carrier for space heating |  |  | percentages related to....
district heating | 1.8% | 1.8 | Number of dwellings
gas (natural / liquid gas) | 84.8% | 19.6
oil | 3.7% | 0
coal | 0.8% | 0
wood/biomass | 0.3% | 0.3
electricity | 8.9% | 78.4
Main heat generation system for space heating |  |  | percentages related to....
district heating | 1.8% | 1.8% | Number of dwellings
boiler system | 88.2% | 19.9%
storage radiators | 6.4% | 0%
warm air system | 0.6% | 0.6%
room heaters | 2.9% | 2.9%
heat pumps | 0% | 78.4%
Special Systems |  |  | percentages related to....
solar thermal systems | 0.7% | 68% | Number of dwellings
photovoltaic systems | 1% | 68%
remarks
Modelling was undertaken to 2050 only (2020 and 2030 data not available)
Operational Indicators
Ambitious Long Term (National Report Scenario 4) | Residential Buildings constructed until 2012
| 2012: Basic Case | 2050
| bs2012 = bs…2012¦2012 | bs…2012¦2050
Internal and external boundary conditions for energy balance calculation
Directly heated part of the reference floor area | 100 | 100 | in %
Daily operating time of heating system | 8hrs weekday, 16hrs weekend | 8hrs weekday, 16hrs weekend | h/d
Set-point temperature heating system | 21 | 21 | °C
Average temperature directly heated part | 21 | 21 | °C (heating period)
Average temperature not directly heated part | N/A | N/A | °C (heating period)
Climate dataset | SAP 2012 | SAP 2012
Length of heating period | 8 | 8 | d/a
Average external air temperature during heating period |  |  | °C
Adaptation factor final energy (for calibration to typical level of measured consumption) | Variable factor | Variable factor
fuels | Variable factor | Variable factor
district heating | Variable factor | Variable factor
electric energy

## Energy Balance <1>
Trend scenario (National report scenario 1) |  | 2012: Basic Case | 2050
|  | bs2012 | bs2050
TABULA/EPISCOPE reference area [109 m²] |  | 2.1 | 2.94
Required heat amounts
Qnd | Net heat need (space heating and DHW)* | 132012.4385 | 131062.3127
Qtotal | Supplied heat (space heating and DHW)** | 190201.5556 | 173649.9147
Final energy demand by energy carrier (delivered energy, gross calorific value)
1 | natural gas | 161166.5795 | 150128.2345
2 | liquid gas | 911.2482 | 644.5025
3 | oil | 8890.624 | 5091.8012
4 | coal | 7349.0506 | 4886.6141
5 | wood / biomass | 419.883 | 418.1491
6 | district heating | 294.1941 | 293.7801
7 | electric energy (used for heat supply)*** | 11169.976 | 12186.8332
Sum of energy carriers (1-7) |  | 190201.5556 | 173649.9147
CO2 emissions (e.g. in million tons / year) |  | 124 | 86.2
Remarks:
*) Energy need for heating and DHW
**) Total amount of heat generated by technical installations in the building (for heating and DHW: sum of net heat need + storage losses + distribution and emission losses + heat recovered by ventilation systems).
***) e.g. auxiliary electric energy for control, pumps, fans of heat supply and ventilation systems is included
Modelling was undertaken to 2050 only (2020 and 2030 data not available)
Indicators Related to the Reference Area in kWh/(m²a) |  | 2012: Basic Case | 2050
Trend scenario (National report scenario 1) |  | bs2012 | bs2050
TABULA/EPISCOPE reference area [10^9m²] |  | 2.1 | 2.94
Required heat amounts
Qnd | Net heat need (space heating and DHW)* | 62.8631 | 44.579
Qtotal | Supplied heat (space heating and DHW)** | 90.5722 | 59.0646
Final energy demand by energy carrier (delivered energy, gross calorific value)
1 | natural gas | 76.746 | 51.064
2 | liquid gas | 0.43393 | 0.21922
3 | oil | 4.2336 | 1.7319
4 | coal | 3.4995 | 1.6621
5 | wood / biomass | 0.19994 | 0.14223
6 | district heating | 0.14009 | 0.099925
7 | electric energy (used for heat supply)*** | 5.319 | 4.1452
Sum of energy carriers (1-7) |  | 90.5722 | 59.0646
CO2 emissions (in kg / m² / year) |  | 59.0476 | 29.3197
Remarks:
*) Energy need for heating and DHW
**) Total amount of heat generated by technical installations in the building (for heating and DHW: sum of net heat need + storage losses + distribution and emission losses + heat recovered by ventilation systems).
**) e.g. auxiliary electric energy for control, pumps, fans of heat supply and ventilation systems is included
Values related to the reference area
Powers of ten used in the table above
| Area | 9 | 1000000000 | m²
| Energy | 6 | 1000000 | kWh/yr

## Energy Balance <2>
Ambitious Long Term (National Report Scenario 4) |  | 2012: Basic Case | 2050
|  | bs2012 | bs2050
TABULA/EPISCOPE reference area [109 m²] |  | 2.1 | 2.94
Required heat amounts
Qnd | Net heat need (space heating and DHW)* | 132012.4385 | 123645.0353
Qtotal | Supplied heat (space heating and DHW)** | 190201.5556 | 81883.3072
Final energy demand by energy carrier (delivered energy, gross calorific value)
1 | natural gas | 161166.5795 | 29105.9931
2 | liquid gas | 911.2482 | 2.7236
3 | oil | 8890.624 | 0
4 | coal | 7349.0506 | 374.8889
5 | wood / biomass | 419.883 | 376.0614
6 | district heating | 294.1941 | 290.0839
7 | electric energy (used for heat supply)*** | 11169.976 | 51733.5563
Sum of energy carriers (1-7) |  | 190201.5556 | 81883.3072
CO2 emissions (in million tons / year) |  | 124 | 16
Remarks:
*) Energy need for heating and DHW
**) Total amount of heat generated by technical installations in the building (for heating and DHW: sum of net heat need + storage losses + distribution and emission losses + heat recovered by ventilation systems).
***) e.g. auxiliary electric energy for control, pumps, fans of heat supply and ventilation systems is included
Indicators Related to the Reference Area in kWh/(m²a) |  | 2012: Basic Case | 2050
|  | bs2012 | bs2050
TABULA/EPISCOPE reference area [10^9m²] |  | 2.1 | 2.94
Required heat amounts
Qnd | Net heat need (space heating and DHW)* | 62.8631 | 42.0561
Qtotal | Supplied heat (space heating and DHW)** | 90.5722 | 27.8515
Final energy demand by energy carrier (delivered energy, gross calorific value)
1 | natural gas | 76.746 | 9.9
2 | liquid gas | 0.43393 | 0.00092638
3 | oil | 4.2336 | 0
4 | coal | 3.4995 | 0.12751
5 | wood / biomass | 0.19994 | 0.12791
6 | district heating | 0.14009 | 0.098668
7 | electric energy (used for heat supply)*** | 5.319 | 17.5964
Sum of energy carriers (1-7) |  | 90.5722 | 27.8515
CO2 emissions (in kg / m² / year) |  | 59.0476 | 5.4422
Remarks:
*) Energy need for heating and DHW
**) Total amount of heat generated by technical installations in the building (for heating and DHW: sum of net heat need + storage losses + distribution and emission losses + heat recovered by ventilation systems).
**) e.g. auxiliary electric energy for control, pumps, fans of heat supply and ventilation systems is included
Modelling was undertaken to 2050 only (2020 and 2030 data not available)
Values related to the reference area
Powers of ten used in the table above
| Area | 9 | 1000000000 | m²
| Energy | 6 | 1000000 | kWh/yr

## Summary Indicators
Year |  |  | 2012 | 2050
Reference area | National reference area | [m²] | 2100000000 | 2940000000
| EPISCOPE reference area | [m²] | 2100000000 | 2940000000
CO2 emissions | <1> Scenario "Trend" | kg/m²yr | 42 | 25
| <2> Scenario "Target-oriented / basic" | kg/m²yr |  | 5
| EPISCOPE benchmark | kg/m²yr |  | 8
| National benchmark | kg/m²yr |  | 9
Total heat demand | <1> Scenario "Trend" | kWh/(m²yr) | 171 | 112
| <2> Scenario "Target-oriented / basic" | kWh/(m²yr) |  | 52
CO2 emission factor heat supply | <1> Scenario "Trend" | kg/kWh | 0.24561 | 0.22321
| <2> Scenario "Target-oriented / basic" | kg/kWh | - | 0.096154
Values related to EPISCOPE Reference Area

## Basic Case Details
TABULA Average Buildings | [29 empty] | EPISCOPE Monitoring Indicators
|  |  |  | Building Stock |  |  |  | GB | National |  |  | English Housing | [15 empty] | Year | 2012
|  |  |  | Details |  |  |  | Main English building type and age merged into smaller type and age band to give 9 average building types, bre model | English Housing | English Housing | English Housing | English Housing | English Housing | English Housing | English Housing | English Housing | English Housing | English Housing | English Housing | English Housing | English Housing | English Housing | English Housing | English Housing | English Housing | English Housing | English Housing | English Housing | English Housing | English Housing
Annotations to this sheet
[9 empty] | 1 |  | 2 |  | 3 |  | 4 |  | 5 |  | 6 |  | 7 |  | 8 |  | 9 |  | 10
|  | Building type / label | [6 empty] | TH.01 |  | TH.02-03 |  | TH.04-08 |  | SFH.01 |  | SFH.02-03 |  | SFH.04-08 |  | AB.01 |  | AB.02-03 |  | AB.04-08
Building size category
Construction time band
| General Data | [5 empty] | Total
|  | Number of buildings |  |  |  |  | 17428.4387 | 0 | 2770.7487 | 0 | 5600.985 | 0 | 4019.5756 | 0 | 522.2579 | 0 | 1305.3536 | 0 | 2861.944 | 0 | 135.0033 | 0 | 75.5542 | 0 | 137.0164 | 0 | 0 | 0 | 10^3
|  | Number of dwellings |  |  |  |  | 22720 | 0 | 2970 | 0 | 5800 | 0 | 4270 | 0 | 570 | 0 | 1430 | 0 | 3070 | 0 | 930 | 0 | 1120 | 0 | 2560 | 0 | 0 | 0 | 10^3
|  | Floor area national | [6 empty] | 305 | 0 | 511 | 0 | 344 | 0 | 113 | 0 | 195 | 0 | 413 | 0 | 67 | 0 | 67 | 0 | 148 | 0 | 0 | 0 | 10^6 m²
|  | Floor area TABULA |  |  |  |  | 2163 | 0 | 305 | 0 | 511 | 0 | 344 | 0 | 113 | 0 | 195 | 0 | 413 | 0 | 67 | 0 | 67 | 0 | 148 | 0 | 0 | 0 | 10^6 m²
Building Insulation
Original state / not refurbished fraction of the envelope area
U-values of the original state
|  |  | Roof | [5 empty] | 0.88434 |  | 0.64199 |  | 0.5191 |  | 0.88434 |  | 0.64199 |  | 0.5191 |  | 0.3243 |  | 0.3243 |  | 0.18658 |  | 0 |  | W/(m²K)
|  |  | Wall | [5 empty] | 1.9319 |  | 1.7655 |  | 0.9274 |  | 1.9319 |  | 1.7655 |  | 0.9274 |  | 1.9319 |  | 1.7655 |  | 0.9274 |  | 0 |  | W/(m²K)
|  |  | Window | [5 empty] | 4.0588 |  | 3.5878 |  | 3.7433 |  | 4.1285 |  | 3.62 |  | 3.8888 |  | 4.2229 |  | 3.7133 |  | 4.2497 |  | 0 |  | W/(m²K)
|  |  | Floor | [5 empty] | 0.59 |  | 0.59 |  | 0.59 |  | 0.72 |  | 0.72 |  | 0.72 |  | 0.45 |  | 0.45 |  | 0.45 |  | 0 |  | W/(m²K)
Refubishments (averages)
Refurbished fraction of envelope areas
|  |  | Roof | [5 empty] | 42% |  | 55% |  | 56% |  | 52% |  | 56% |  | 60% |  | 7% |  | 13% |  | 19% |  | 0%
|  |  | Wall | [5 empty] | 11% |  | 52% |  | 54% |  | 17% |  | 55% |  | 57% |  | 7% |  | 40% |  | 46% |  | 0%
|  |  | Window | [5 empty] | 62.11% |  | 76.22% |  | 74.42% |  | 56.62% |  | 75.32% |  | 80.83% |  | 48.14% |  | 85.67% |  | 90.89% |  | 0%
|  |  | Floor | [5 empty] | 0% |  | 0% |  | 0% |  | 0% |  | 0% |  | 0% |  | 0% |  | 0% |  | 0% |  | 0%
|  |  | Total (indicative) | [5 empty] | 22.54% |  | 42.82% |  | 42.85% |  | 26.28% |  | 43.23% |  | 45.96% |  | 10.78% |  | 41.49% |  | 47.57% |  | 0%
U-values of the refurbished fraction (averages)
|  |  | Roof | [5 empty] | 0.16424 |  | 0.15348 |  | 0.14526 |  | 0.16424 |  | 0.15348 |  | 0.14526 |  | 0.12435 |  | 0.12435 |  | 0.096922 |  | 0 |  | W/(m²K)
|  |  | Wall | [5 empty] | 0.73796 |  | 0.4689 |  | 0.3138 |  | 0.73796 |  | 0.4689 |  | 0.3138 |  | 0.73796 |  | 0.4689 |  | 0.3138 |  | 0 |  | W/(m²K)
|  |  | Window | [5 empty] | 2.5844 |  | 2.5844 |  | 2.5844 |  | 2.5844 |  | 2.5844 |  | 2.5844 |  | 2.5844 |  | 2.5844 |  | 2.5844 |  | 0 |  | W/(m²K)
|  |  | Floor | [5 empty] | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | W/(m²K)
Main Heat Supply Systems
Ventilation Systems with Heat Recovery
|  |  | Occurances | [5 empty] | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0%
Heating Systems
Occurances or Fractions of Produced Heat
|  | 1 | Gas |  | B_C |  |  | C | 90% | 0% | 100% | 0% | 90% | 0% | 50% | 0% | 90% | 0% | 90% | 0% | 80% | 0% | 85% | 0% | 60% | 0% |  | 0%
|  | 2 | El |  | E_Storage |  |  | D | 10% | 0% | 0% | 0% | 10% | 0% | 10% | 0% | 0% | 0% | 0% | 0% | 20% | 0% | 15% | 0% | 40% | 0% |  | 0%
|  | 3 | Oil |  | B_C |  |  | C | 0% | 0% | 0% | 0% | 0% | 0% | 40% | 0% | 10% | 0% | 10% | 0% | 0% | 0% | 0% | 0% | 0% | 0% |  | 0%
|  | 4 | [7 empty] | 0% |  | 0% |  | 0% |  | 0% |  | 0% |  | 0% |  | 0% |  | 0% |  | 0% |  | 0%
|  | 5 | [7 empty] | 0% |  | 0% |  | 0% |  | 0% |  | 0% |  | 0% |  | 0% |  | 0% |  | 0% |  | 0%
|  | 6 | [7 empty] | 0% |  | 0% |  | 0% |  | 0% |  | 0% |  | 0% |  | 0% |  | 0% |  | 0% |  | 0%
|  | 7 | [7 empty] | 0% |  | 0% |  | 0% |  | 0% |  | 0% |  | 0% |  | 0% |  | 0% |  | 0% |  | 0%
|  | 8 | [7 empty] | 0% |  | 0% |  | 0% |  | 0% |  | 0% |  | 0% |  | 0% |  | 0% |  | 0% |  | 0%
|  | 9 | [7 empty] | 0% |  | 0% |  | 0% |  | 0% |  | 0% |  | 0% |  | 0% |  | 0% |  | 0% |  | 0%
|  | 10 | [7 empty] | 0% |  | 0% |  | 0% |  | 0% |  | 0% |  | 0% |  | 0% |  | 0% |  | 0% |  | 0%
|  | 11 | [7 empty] | 0% |  | 0% |  | 0% |  | 0% |  | 0% |  | 0% |  | 0% |  | 0% |  | 0% |  | 0%
|  | 12 | [7 empty] | 0% |  | 0% |  | 0% |  | 0% |  | 0% |  | 0% |  | 0% |  | 0% |  | 0% |  | 0%
|  | 13 | [7 empty] | 0% |  | 0% |  | 0% |  | 0% |  | 0% |  | 0% |  | 0% |  | 0% |  | 0% |  | 0%
|  | 14 | [7 empty] | 0% |  | 0% |  | 0% |  | 0% |  | 0% |  | 0% |  | 0% |  | 0% |  | 0% |  | 0%
|  | 15 | [7 empty] | 0% |  | 0% |  | 0% |  | 0% |  | 0% |  | 0% |  | 0% |  | 0% |  | 0% |  | 0%
|  | 16 | [7 empty] | 0% |  | 0% |  | 0% |  | 0% |  | 0% |  | 0% |  | 0% |  | 0% |  | 0% |  | 0%
|  | 17 | [7 empty] | 0% |  | 0% |  | 0% |  | 0% |  | 0% |  | 0% |  | 0% |  | 0% |  | 0% |  | 0%
|  | 18 | [7 empty] | 0% |  | 0% |  | 0% |  | 0% |  | 0% |  | 0% |  | 0% |  | 0% |  | 0% |  | 0%
|  | 19 | [7 empty] | 0% |  | 0% |  | 0% |  | 0% |  | 0% |  | 0% |  | 0% |  | 0% |  | 0% |  | 0%
|  | 20 | [7 empty] | 0% |  | 0% |  | 0% |  | 0% |  | 0% |  | 0% |  | 0% |  | 0% |  | 0% |  | 0%
|  |  | Sum | [5 empty] | 100% | 0% | 100% | 0% | 100% | 0% | 100% | 0% | 100% | 0% | 100% | 0% | 100% | 0% | 100% | 0% | 100% | 0% |  | 0%
|  |  |  | thereof |  | central |  |  | 90% | 0% | 100% | 0% | 90% | 0% | 90% | 0% | 100% | 0% | 100% | 0% | 80% | 0% | 85% | 0% | 60% | 0% | 0% | 0%
[6 empty] | decentral |  |  | 10% | 0% | 0% | 0% | 10% | 0% | 10% | 0% | 0% | 0% | 0% | 0% | 20% | 0% | 15% | 0% | 40% | 0% | 0% | 0%
|  |  | Other Systems | [5 empty] | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% |  | 0%
DHW Systems
Occurances or Fractions of Produced Heat
|  | 1 | Gas |  | B_C |  |  | C | 90% | 0% | 95% | 0% | 90% | 0% | 50% | 0% | 80% | 0% | 80% | 0% | 80% | 0% | 90% | 0% | 60% | 0% |  | 0%
|  | 2 | El |  | E_Immersion |  |  | C | 10% | 0% | 4% | 0% | 10% | 0% | 10% | 0% | 10% | 0% | 0% | 0% | 20% | 0% | 10% | 0% | 40% | 0% |  | 0%
|  | 3 | Oil |  | B_C |  |  | C | 0% | 0% | 1% | 0% | 0% | 0% | 40% | 0% | 10% | 0% | 10% | 0% | 0% | 0% | 0% | 0% | 0% | 0% |  | 0%
|  | 4 | [7 empty] | 0% |  | 0% |  | 0% |  | 0% |  | 0% |  | 0% |  | 0% |  | 0% |  | 0% |  | 0%
|  | 5 | [7 empty] | 0% |  | 0% |  | 0% |  | 0% |  | 0% |  | 0% |  | 0% |  | 0% |  | 0% |  | 0%
|  | 6 | [7 empty] | 0% |  | 0% |  | 0% |  | 0% |  | 0% |  | 0% |  | 0% |  | 0% |  | 0% |  | 0%
|  | 7 | [7 empty] | 0% |  | 0% |  | 0% |  | 0% |  | 0% |  | 0% |  | 0% |  | 0% |  | 0% |  | 0%
|  | 8 | [7 empty] | 0% |  | 0% |  | 0% |  | 0% |  | 0% |  | 0% |  | 0% |  | 0% |  | 0% |  | 0%
|  | 9 | [7 empty] | 0% |  | 0% |  | 0% |  | 0% |  | 0% |  | 0% |  | 0% |  | 0% |  | 0% |  | 0%
|  | 10 | [7 empty] | 0% |  | 0% |  | 0% |  | 0% |  | 0% |  | 0% |  | 0% |  | 0% |  | 0% |  | 0%
|  | 11 | [7 empty] | 0% |  | 0% |  | 0% |  | 0% |  | 0% |  | 0% |  | 0% |  | 0% |  | 0% |  | 0%
|  | 12 | [7 empty] | 0% |  | 0% |  | 0% |  | 0% |  | 0% |  | 0% |  | 0% |  | 0% |  | 0% |  | 0%
|  | 13 | [7 empty] | 0% |  | 0% |  | 0% |  | 0% |  | 0% |  | 0% |  | 0% |  | 0% |  | 0% |  | 0%
|  | 14 | [7 empty] | 0% |  | 0% |  | 0% |  | 0% |  | 0% |  | 0% |  | 0% |  | 0% |  | 0% |  | 0%
|  | 15 | [7 empty] | 0% |  | 0% |  | 0% |  | 0% |  | 0% |  | 0% |  | 0% |  | 0% |  | 0% |  | 0%
|  | 16 | [7 empty] | 0% |  | 0% |  | 0% |  | 0% |  | 0% |  | 0% |  | 0% |  | 0% |  | 0% |  | 0%
|  | 17 | [7 empty] | 0% |  | 0% |  | 0% |  | 0% |  | 0% |  | 0% |  | 0% |  | 0% |  | 0% |  | 0%
|  | 18 | [7 empty] | 0% |  | 0% |  | 0% |  | 0% |  | 0% |  | 0% |  | 0% |  | 0% |  | 0% |  | 0%
|  | 19 | [7 empty] | 0% |  | 0% |  | 0% |  | 0% |  | 0% |  | 0% |  | 0% |  | 0% |  | 0% |  | 0%
|  | 20 | [7 empty] | 0% |  | 0% |  | 0% |  | 0% |  | 0% |  | 0% |  | 0% |  | 0% |  | 0% |  | 0%
|  |  | Sum | [5 empty] | 100% | 0% | 100% | 0% | 100% | 0% | 100% | 0% | 100% | 0% | 90% | 0% | 100% | 0% | 100% | 0% | 100% | 0% |  | 0%
|  |  |  | thereof |  | central |  |  | 100% | 0% | 100% | 0% | 100% | 0% | 100% | 0% | 100% | 0% | 90% | 0% | 100% | 0% | 100% | 0% | 100% | 0% | 0% | 0%
[6 empty] | decentral |  |  | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0%
|  |  | Other Systems | [5 empty] | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 10% | 0% | 0% | 0% | 0% | 0% | 0% | 0% |  | 0%
| Energy Balance | [16 empty] | All energy quantities in | GWh/a |  |  |  | Heating + DHW
bre model of English housing
[7 empty] | fuels related to |  |  | gross | 0% | calorific value
[27 empty] | Total |  | per m²
|  | Net heat need |  |  |  |  | 59100 |  | 86200 |  | 47100 |  | 22700 |  | 33100 |  | 53500 |  | 13100 |  | 10900 |  | 16900 |  | 0 |  | 342600 |  | 158.3911
|  | Produced heat |  |  |  |  | 80700 |  | 116600 |  | 61700 |  | 31700 |  | 45900 |  | 72900 |  | 16000 |  | 13300 |  | 19000 |  | 0 |  | 457800 |  | 211.6505
|  | Gas |  |  |  | 1 | 71100 |  | 111000 |  | 57500 |  | 15800 |  | 39200 |  | 63400 |  | 12200 |  | 11100 |  | 12400 |  | 0 |  | 393700 |  | 182.0157
|  | Oil |  |  |  | 1 | 4100 |  | 1500 |  | 500 |  | 12200 |  | 3800 |  | 7400 |  | 100 |  | 36 |  | 50 |  | 0 |  | 29686 |  | 13.7245
|  | Coal |  |  |  | 1 | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0
|  | Bio |  |  |  | 1 | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0
|  | DH |  |  |  |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0
|  | El |  |  |  |  | 3300 |  | 2200 |  | 3300 |  | 1500 |  | 1400 |  | 1200 |  | 3000 |  | 1400 |  | 5400 |  | 0 |  | 22700 |  | 10.4947
|  | Other / not specified |  |  |  |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0
|  | Sum final energy |  |  |  |  | 78500 |  | 114700 |  | 61300 |  | 29500 |  | 44400 |  | 72000 |  | 15300 |  | 12536 |  | 17850 |  | 0 |  | 446086 |  | 206.2349
|  | per m² |  |  |  |  | 257.377 |  | 224.4618 |  | 178.1977 |  | 261.0619 |  | 227.6923 |  | 174.3341 |  | 228.3582 |  | 187.1045 |  | 120.6081
|  | CHP electr. production |  |  |  |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0
Version: |  | 2016-01-21