## Cover
EPISCOPE Case Study:
"Re-furbishment Progress of a Housing Portfolio" City of Budaörs, Hungary
"EPI Tables"
Documentation of
Energy Performance Indicators
Prepared in the framework
of the European project EPISCOPE
www.episcope.eu | www.episcope.eu
February 2016
{ Logo }
Budapest University of Technology of Economics
Energy Performance Indicator Tracking Schemes for the Continuous Optimisation of Refurbishment Processes in European Housing Stocks
Co-funded by the Intelligent Energy Europe
Programme of the European Union

## About
Workbook Template / Data Entry Guidance
[6 empty] | Template version: | 2016-01-28
About this Workbook
The template for this workbook has been prepared in the framework of the project EPISCOPE which was mainly funded by the programme Intelligent Energy Europe. The purpose is to report in a concerted way on input and output data of the building stock models and scenario calculations.
The usage of the EPI concept as well of this workbook by third parties is intended and desirable.
EPISCOPE Case Studies: Guidance for Data Entry
|  | ► | This data appendix is supposed to address readers who are interested in more detailed results of your scenario calculations.
|  | ► | Give enough explanatory text so the reader can understand the documentation (together with your case study reports and your English project description in EPISCOPE Synthesis Reports SR 2 or SR 3), but keep it short.
|  | ► | Respect the clear separation between "monitoring indicators" (which are based on empirical data) and "scenario indicators".
|  | ► | Stick to the table templates as far as possible: This will facilitate the understanding for other experts.
|  | ► | Individual modifications are possible (in this case: provide additional remarks so that changes come clear to the reader).
|  | ► | Also additional individual data tables may be supplemented, if you like.
|  | ► | If data is not available: The data fields (lines or rows) of the table templates may be deleted.
|  | ► | A first version of the monitoring indicators and of the starting point (basic case) of the scenarios was already provided for the interim report by most partners. Download of these preliminary EPI tables (status: 2014-10) at the internal EPISCOPE website (login first): http://internal.episcope.eu/internal-contract/reports-submitted-to-eacieasme/
Monitoring Indicators
General Rule: Enter only robust empirical data into the monitoring indicators tables.
If data is not available: Keep the fields empty or delete them.
Give the reader an impression of the reliability of data of the main data sources, for example providing some estimation as to the following issues as far as applicable:
|  | ► | Size of the applied sample (100 or 1000 or 10 000)? In case of local case studies also relate the sample size to the total number of considered buildings.
|  | ► | What is the rate of return for the most important questions?
|  | ► | How do you assess the data quality? (in terms of uncertainties of the measured information; only in words, not quantitative)
|  | ► | Is data deemed as representative or might it be biased?
|  | ► | Is data up-to-date?
Scenario Indicators
Report the respective indicators for the trend scenario and if possible for 1 to 2 additional scenarios.
|  | ► | Provide information on the starting year (basic case) and the end year (e.g. 2050) and at least 1-2 additional years in between. In some case studies the partners differentiated between the “basic case” and the current state 2015 (for example if the basic case is based on a survey implemented some years ago). Here it is necessary to provide the numbers for both states (please note, that this may require in some cases an additional column on the left side in the summary indicators tables from SR2/3).
|  | ► | The data of the basic case and of the scenarios are shown as “one value for the whole stock”, that means they are not split for different building types. But the total values of the basic case must correspond to the values in the sheet "Basic Case Details", that means they must be appropriate mean values (e.g. weighted by living space, another reference area or dwelling number) of the “average buildings”.
|  | ► | Two different approaches can be chosen:
- Relate the data to the complete building stock (including new buildings).
- Relate the data to the existing building stock of a certain year only (e.g. the year of the basic case) and follow this building stock over time.
|  | ► | In both cases indicate the building stock in the lines at the top of the table:
e.g. bs 2030 = Building Stock of the year 2030 (including new buildings)
bs..2012¦2030 = Buildings constructed until 2012 in the year 2030. Give a short explanation of that indicator
|  | ► | In both cases: give at least some additional short textual explanation of the assumed development in the new building sector (which insulation standards are achieved? Which heat supply systems are applied?). Alternatively also separate detailed tables of the new buildings subset of the building stock may be provided, if you like.
|  | ► | Give at least some additional short textual explanation of the development in the higher-level electricity and district heating sector, as far as applicable (but also indicate if there are no changes assumed). This also might help to understand the development of the summary indicator carbon dioxide emission per produced heat.
Energy Balance Indicators
Enter the results of the two scenario calculations for the different years. The values should be identical to those displayed in the Synthesis Reports SR 2 and 3.
"Basic Case Details -" Scenario and Energy Balance Indicators by Building Type
The basic cases of all EPISCOPE scenario calculations are documented in form of "average buildings" in the TABULA Webtool (http://webtool.building-typology.eu) area "Building Stocks". The most important input data are identical to the monitoring indicators. The current version of the "average buildings" datasets can be found in sheet "Source TABULA.xlsm - Basic Case" of this workbook. You can directly copy and paste the rows containing your case study values from there into the sheet "Basic Case Details".
Summary Indicators
The summary indicators are designed to give a first and basic overview of the results of scenario analysis of residential building stocks. The format is binding - in contrast to the other indicators. You will find the detailed definitions and further explanations in the EPISCOPE report "Application of Energy Performance Indicators for Residential Building Stocks" (www.episcope.eu/communication/download/)
Energy Performance Indicator Tracking Schemes for the Continuous Optimisation of Refurbishment Processes in European Housing Stocks
Co-funded by the Intelligent Energy Europe Programme of the European Union
| Contract N°: |  |  | IEE/12/695/SI2.644739 – EPISCOPE
| Coordinator: |  |  | Institut Wohnen und Umwelt, Darmstadt / Germany
| Project duration: |  |  | April 2013 - March 2016
The sole responsibility for the content of this deliverable lies with the authors. It does not necessarily reflect the opinion of the European Union. Neither the EASME nor the European Commission are responsible for any use that may be made of the information contained therein.

## Data Info
EPISCOPE Case Studies - Documentation of Energy Performance Indicators
General Information
General Information about the monitoring and scenario data documented in this workbook
|  | Country |  | HU | Hungary
|  | Building stock |  | City of Budaörs, Hungary
|  | Person in charge |  | Tamás Csoknyai
|  |  | Organisation | Budapest University of Technology and Economics
|  |  | Address | 1111. Budapest, Műegyetem rkp. 3.
|  |  | Country | Hungary
|  |  | URL | www.bme.hu
|  | Date |  | 30.03.2016
Documented study
|  |  | Reference | T. Csoknyai, E. Domahidi, D. Szoó, S. Hrabovszky-Horváth, G. Szendrő: "Re-furbishment Progress of a Housing Portfolio", City of Budaörs, Hungary, National Report (in Hungarian)
http://episcope.eu/fileadmin/episcope/public/docs/pilot_actions/HU_EPISCOPE_LocalCaseStudy_BME_.pdf
Explanations
Monitoring Indicators
The monitoring indicators are partly based on a representative survey of nearly 500 residential buildings in Budaörs, which reflects the state of the Budaörs residential building stock in 2014 [1]. Data on technical building systems were not obtained for Budaörs, therefore national level data from [6] were used. For that reason, on the one hand, data related to the building shell retrofit has to be seen as reliable, on the other hand data on technical building systems can be considered only as an estimation.
A detailed description of the data situation in Budaörs can be found in the EPISCOPE Synthesis Report SR4 [3].
Scenario Indicators
|  | Scenario <1> |  | "Trend"
The retrofit rates were determined on the basis of past national trends and the survey in Budaörs. According to a representative national survey until 2013 only 11 % of the dwellings were retrofitted [8]. Taking into account that the first retrofit subsidy programmes focusing on thermal insulation were launched in 2002 it can be concluded that 1 % of the dwellings were retrofitted annually. We considered 1 % retrofit rate on complex level for Budaörs in the trend scenario. It means that 1 % of gross floor area of the existing buildings is retrofitted annually. Standard retrofit levels were considered targeting national requirements of 7/2006 TNM regulation [7], annex 1.
|  | Scenario <2> |  | "C"
A more ambitious retrofit rate of 3 % yearly was considered and “ambitious” retrofit levels in all future cases targeting retrofit levels close to national requirements of 7/2006 TNM regulation [7], annex 6.
Further scenarios not documented in this workbook
|  | - | Scenario "B": Retrofit rate is 2 % yearly and “standard” retrofit levels are considered in all future cases.
Further Explanations
Two on-site data surveys were carried out in order to determine the renovation levels and the distribution of buildings per building types. The first (preliminary) data collection was carried out in selected areas with typical building patterns (e. g. in the historical centre, in the housing estate, etc. 135 buildings were visited during this phase. The second data survey was carried out on a random basis. Altogether 340 buildings were visited in 34 randomly selected areas and a more detailed technical questionnaire was filled and the results were exported to excel. The collected data of this second phase represented the main data source for the scenario analysis.
Energy Balance Indicators
The numbers are related to the complete Budaörs building stock of the respective year (including new buildings constructed from 1990). The total heat demand Qtotal includes the energy need for heating and hot water supply as well as the losses of heat distribution and storage in the builidings. Heat recovery is negligible. Auxiliary electric energy for control, pumps, fans of heat supply and ventilation systems is included in the numbers of primary energy demand.
Basic Case Details - Scenario and Energy Balance Indicators by Building Type
5 building types are used for the definition of the TABULA "average buildings", referring to 3 building size classes (single-unit housing; multi-unit housing, appartment blocks) and 2 construction year classes (… 1989; 1990 …).
Summary Indicators
Detailed information about the summary indicators can be found in the description of the German case study of EPISCOPE Synthesis Report SR3 [4].
References
| [1] | T. Csoknyai, E. Domahidi, D. Szoó, S. Hrabovszky-Horváth, G. Szendrő: "Re-furbishment Progress of a Housing Portfolio", City of Budaörs, Hungary, National Report
http://episcope.eu/fileadmin/episcope/public/docs/pilot_actions/HU_EPISCOPE_LocalCaseStudy_BME_.pdf
| [2] | Csoknyai Tamás PhD, Hrabovszky-Horváth Sára, Seprődi-Egeresi Márta, Szendrő Gábor: Lakóépület tipológia Magyarországon - National Typology of Residental Buildings in Hungary, Episcope Brochure, 2014
http://episcope.eu/fileadmin/tabula/public/docs/brochure/HU_TABULA_TypologyBrochure_BME.pdf
| [3] | Stein, B., Loga, T., Diefenbach, N. (ed.): Tracking of Energy Performance Indicators in Residential Building Stocks – Different Approaches and Common Results. EPISCOPE Synthesis Report No. 4, Institut Wohnen und Umwelt, Darmstadt, 2016
www.episcope.eu/communication/download/
| [4] | Stein, B., Loga, T., Diefenbach, N. (ed.): Scenario Analyses Concerning Energy Efficiency and Climate Protection in Regional and National Residential Building Stocks. Examples from Nine European Countries – EPISCOPE Synthesis Report No. 3”, Institut Wohnen und Umwelt, Darmstadt, 2016
www.episcope.eu/communication/download/
| [5] | Építésügyi Minőségellenőrző Innovációs Nonprofit Kft. (2015), Épülettipológia tanulmány, Residential Building Typology Study, project document, KEOP-7.9.0/12-2013-0019 project (in Hungarian);
| [6] | Database of Hungarian Statistic Office (Household Survey, 2010 - Háztartási Költségvetési és Életmód Felvétel (HKÉF ) 2010-es adatfelvétele)
| [7] | 7/2006. (V. 24) Decree of Minister without Portfolio About Determination of Energy Efficiency of Buildings, On line at: http://net.jogtar.hu/jr/gen/hjegy_doc.cgi?docid=A0600007.TNM (accessed November 22, 2015)
| [8] | Központi Statisztikai Hivatal (2013): Háztartási költségvetési és életkörülmények adatfelvétel (HKÉF). A representative data survey carried out by the Central Statistical Office in 2013 about living conditions in dwellings.

## Monitoring Indicators
Monitoring Indicators
General Remarks:
M.1-2: Data of the Budaörs Residential Building Stock
M.3: Data of the Hungarian Residential Building Stock
old building stock: buildings constructed until 1989
M.1 Basic data of the building stock | Complete building stock | Old building stock | New buildings
|  | constructed till 1990 | since 1991
number of buildings | 6034 | 3608 | 2426
number of dwellings | 10876 | 7069 | 3807
national reference area [m²] | 1310818 | 733958 | 576860
M.2.1 Building insulation: basic information about state and trends of fabric improvement
| Complete building stock | Old building stock
Walls |  |  | percentages related to…
insulation improved (cases)* | 46.6% | 22.9% | total net floor area of buildings
average thickness of improved insulation | 8 cm | 6 cm
annual rate of insulation improvement (cases) |  | 1.636% | total net floor area of buildings
average thickness of insulation (recent modernisation) | 10 cm | 8 cm
Upper floor ceilings |  |  | percentages related to…
insulation improved (cases)* | 26.7% | 20.1% | total net floor area of buildings
average thickness of improved insulation | 14 cm | 12 cm
annual rate of insulation improvement (cases) |  | 0.804% | total net floor area of buildings
average thickness of insulation (recent modernisation) | 18 cm | 16 cm
Roofs |  |  | percentages related to…
insulation improved (cases)* | 26.7% | 20.1% | total net floor area of buildings
average thickness of improved insulation | 14 cm | 12 cm
annual rate of insulation improvement (cases) |  | 0.804% | total net floor area of buildings
average thickness of insulation (recent modernisation) | 18 cm | 16 cm
Ground floors / cellar ceilings |  |  | percentages related to…
insulation improved (cases)* | 50.8% | 41.3% | total net floor area of buildings
average thickness of improved insulation | 14 cm | 12 cm
annual rate of insulation improvement (cases) |  | 1.652% | total net floor area of buildings
average thickness of insulation (recent modernisation) | 18 cm | 16 cm
Windows
insulation improved (cases)* | 71.1% | 49.3% | total net floor area of buildings
average quality of improved windows | U=1,4 | U=1,6
annual rate of insulation improvement (cases) |  | 3.287% | total net floor area of buildings
average quality of improved windows (recent modernisation) | U=1,1 | U=1,3
Sources / remarks
*) percentage of buildings (or dwellings) which have already been refurbished by adding insulation
M.2.2 Building insulation: Detailed information of the actual state (floor area-weigthed)
| Complete building stock | Old building stock | New buildings
levels of wall insulation
no insulation | 53.38% | 77.13% | 23.15%
standard insulation | 28.3% | 5.015% | 57.93%
good insulation | 18.32% | 17.85% | 18.92%
very good insulation | 0% | 0% | 0%
upper floor ceilings
no insulation | 73.27% | 79.92% | 64.81%
standard insulation | 20.96% | 19.34% | 23.01%
good insulation | 5.776% | 0.7415% | 12.18%
very good insulation | 0 | 0 | 0
roof insulation
no insulation | 73.27% | 79.92% | 64.81%
standard insulation | 20.96% | 19.34% | 23.01%
good insulation | 5.776% | 0.7415% | 12.18%
very good insulation | 0 | 0 | 0
windows
not insulated | 28.89% | 50.74% | 1.089%
standard quality | 61.32% | 47.22% | 79.28%
good quality | 9.784% | 2.042% | 19.64%
top quality | 0 | 0 | 0
Sources / remarks
results of the survey in Budaörs within Episcope project, 2014
M.3.1 Main Heat Supply Systems for Space Heating
state of the building stock
| Complete building stock | Old building stock | New buildings
M.3.1.1 Centralisation of space heating system
district heating | 5.882% | 10.99% | 0%
building / apartment heating | 90.29% | 81.87% | 100%
room heating | 3.824% | 7.143% | 0%
M.3.1.2 Main energy carrier for space heating
district heating | 5.882% | 10.99% | 0%
gas (natural / liquid gas) | 89.41% | 86.26% | 93.04%
oil | 0% | 0% | 0%
coal | 0% | 0% | 0%
wood/biomass | 4.706% | 2.747% | 6.962%
electricity | 0% | 0% | 0%
M.3.1.3. Main heat generation system for space heating
district heating | 5.882% | 10.99% | 0%
combustion of fossil fuels: "level 0" systems: stoves, non-condensing boilers | N/A | N/A | N/A
combustion of fossil fuels: "level 1" systems: gas/oil condensing boilers | N/A | N/A | N/A
combustion of fossil fuels: "level 2" systems gas/oil driven heat pumps / chp systems | N/A | N/A | N/A
combustion of wood/biomass: "level 0" systems: simple/old/unefficient stoves and boilers (mostly split log) | N/A | N/A | N/A
combustion of wood/biomass: "level 1" systems: modern boilers and stoves (mostly wood pellets, wood chips) | N/A | N/A | N/A
direct electric heating | 0% | 0% | 0%
electric heat pumps | 0% | 0% | 0%
Sources / remarks
Developed by Századvég Economic Reasearch Ltd. from the database of Hungarian Statistic Office (Household Survey, 2010 - Háztartási Költségvetési és Életmód Felvétel (HKÉF ) 2010-es adatfelvétele)
M.3.2 Special Systems (additional systems of special interest for space heating, hot water supply, ventilation, including photovoltaics)
state of the building stock
| Complete building stock | Old building stock | New buildings
solar thermal systems
...for hot water supply only | 0.3% | 0% | 0.6%
...for heating and hot water supply | 0% | 0% | 0%
photovoltaic systems | 0% | 0% | 0%
ventilation systems (for buildings/apartments, not only kitchen/WC ventilation) | 0% | 0% | 0%
....with heat recovery | 0% | 0% | 0%
...without heat recovery | 0% | 0% | 0%
Sources / remarks
Developed by Századvég Economic Reasearch Ltd. from the database of Hungarian Statistic Office (Household Survey, 2010 - Háztartási Költségvetési és Életmód Felvétel (HKÉF ) 2010-es adatfelvétele)
M.3.3 Main System of Hot Water Supply
apart from additional solar thermal systems (see above)
| Complete building stock | Old building stock | New buildings
M.3.3.1 Main Energy carrier for hot water supply
district heating | 5.882% | 10.99% | 0%
gas | N/A | N/A | N/A
oil | 0% | 0% | 0%
coal | 0% | 0% | 0%
wood/biomass | 4.706% | 2.747% | 6.962%
electricity | N/A | N/A | N/A
M.3.3.2 Main heat generation system for hot water supply
hot water generation combined with heating system: | N/A | N/A
separate system of hot water generation: | N/A | N/A
- direct electric heat generation | N/A | N/A | N/A
- electric heat pump | N/A | N/A | N/A
- combustion of fossil fuels | N/A | N/A | N/A
- combustion of wood/biomass | 4.706% | 2.747% | 6.962%
Sources / remarks
Developed by Századvég Economic Reasearch Ltd. from the database of Hungarian Statistic Office (Household Survey, 2010 - Háztartási Költségvetési és Életmód Felvétel (HKÉF ) 2010-es adatfelvétele)
Note on C20: Csoknyai Tamás: expert's guess
Note on D20: Csoknyai Tamás: expert's guess
Note on C22: Csoknyai Tamás: expert's guess
Note on D22: Csoknyai Tamás: expert's guess
Note on C25: Csoknyai Tamás: expert's guess
Note on D25: Csoknyai Tamás: expert's guess
Note on C27: Csoknyai Tamás: expert's guess
Note on D27: Csoknyai Tamás: expert's guess
Note on C30: Csoknyai Tamás: expert's guess
Note on D30: Csoknyai Tamás: expert's guess
Note on C32: Csoknyai Tamás: expert's guess
Note on D32: Csoknyai Tamás: expert's guess
Note on C35: Csoknyai Tamás: expert's guess
Note on D35: Csoknyai Tamás: expert's guess
Note on C37: Csoknyai Tamás: expert's guess
Note on D37: Csoknyai Tamás: expert's guess
Note on C40: Csoknyai Tamás: expert's guess
Note on D40: Csoknyai Tamás: expert's guess
Note on C42: Csoknyai Tamás: expert's guess
Note on D42: Csoknyai Tamás: expert's guess

## Scenario Indicators <1>
Scenario Indicators <1>
State Indicators
Scenario "Trend" |  |  |  |  | Remarks
| 2015 (Basic Case) | 2020 | 2030 | 2050
| bs2015 | bs…2012¦2020 | bs…2012¦2030 | bs…2012¦2050
Number of buildings | 6034 | 6561 | 7057 | 7950
Number of dwellings | 10876 | 11648 | 12384 | 13694
National reference area [m²] | 1311 | 1432 | 1550 | 1756
TABULA/EPISCOPE reference area [m²] | 1311 | 1432 | 1550 | 1756
Building insulation: state of modernisation
Walls |  |  |  |  | percentages related to ....
insulation improved (cases)* | 46.6% | 54% | 61% | 75% | total floor area
Roofs / upper floor ceilings |  |  |  |  | percentages related to ....
insulation improved (from original state) | 26.7% | 36% | 45% | 68% | total floor area
Ground floors / cellar ceilings |  |  |  |  | percentages related to ....
insulation improved (from original state) | 50.8% | 57% | 64% | 77% | total floor area
Windows |  |  |  |  | percentages related to ....
insulation improved (from original state) | 71.1% | 75% | 80% | 84% | total floor area
Building insulation: Detailed information
Average U-value of walls (area-weigthed): | 0.63 | 0.59 | 0.55 | 0.45
Average U-value of roof/upper floor ceiling (area-weigthed): | 0.7 | 0.61 | 0.55 | 0.43
Average U-value of ground floor / cellar ceiling insulation (area-weigthed): | 0.73 | 0.7 | 0.66 | 0.61
Average U-value of window insulation (area-weigthed): | 1.94 | 1.9 | 1.85 | 1.77
Main Heat Supply Systems for Space Heating
Centralisation of space heating system |  |  |  |  | percentages related to....
district heating | 5.9% | 5.9% | 5.9% | 5.9% | total floor area
building / apartment heating | 90.3% | 90.1% | 90.1% | 87.1%
room heating | 3.8% | 4% | 4% | 7%
Main energy carrier for space heating |  |  |  |  | percentages related to....
district heating | 5.9% | 6% | 6% | 6% | total floor area
gas (natural / liquid gas) | 89.4% | 89% | 89% | 87%
oil | 0% | 0% | 0% | 0%
coal | 0% | 0% | 0% | 0%
wood/biomass | 4.7% | 5% | 5% | 7%
electricity | 0% | 0% | 0% | 0
Main heat generation system for space heating |  |  |  |  | percentages related to....
district heating | 5.9% | 6% | 6% | 6% | total floor area
non-condensing gas boiler, apartment heating | 89.4% | 78% | 67% | 33%
condensing gas boiler, apartment heating | 0% | 11% | 22% | 54%
wood stove | 4.7% | 5% | 5% | 7%
Operational Indicators
Scenario "Trend"
| 2015 (Basic Case) | 2020 | 2030 | 2050
| bs2015 | bs…2012¦2020 | bs…2012¦2030 | bs…2012¦2050
Directly heated part of the reference floor area | 100% | 100% | 100% | 100% | in %
Daily operating time of heating system | 24 | 24 | 24 | 24 | h/d
Set-point temperature heating system | 20 | 20 | 20 | 20 | °C
Average temperature directly heated part | 20 | 20 | 20 | 20 | °C (heating period)
Average temperature not directly heated part | 20 | 20 | 20 | 20 | °C (heating period)
Length of heating period | 180 | 180 | 180 | 180 | d/a
Average external air temperature during heating period | 3.6 | 3.6 | 3.6 | 3.6 | °C

## Scenario Indicators <2>
Scenario Indicators <2>
State Indicators
Scenario C |  |  |  |  | Remarks
| 2015 (Basic Case) | 2020 | 2030 | 2050
| bs2015 | bs…2012¦2020 | bs…2012¦2030 | bs…2012¦2050
Number of buildings | 6034 | 6561 | 7057 | 7950
Number of dwellings | 10876 | 11648 | 12384 | 13694
National reference area [m²] | 1311 | 1432 | 1550 | 1756
TABULA/EPISCOPE reference area [m²] | 1311 | 1432 | 1550 | 1756
Building insulation: state of modernisation
Walls |  |  |  |  | percentages related to ....
insulation improved (cases)* | 46.6% | 58% | 72% | 96% | total floor area
Roofs / upper floor ceilings |  |  |  |  | percentages related to ....
insulation improved (from original state) | 26.7% | 40% | 56% | 89% | total floor area
Ground floors / cellar ceilings |  |  |  |  | percentages related to ....
insulation improved (from original state) | 50.8% | 61% | 75% | 98% | total floor area
Windows |  |  |  |  | percentages related to ....
insulation improved (from original state) | 71.1% | 79% | 91% | 100% | total floor area
Building insulation: Detailed information
Average U-value of walls (area-weigthed): | 0.63 | 0.59 | 0.55 | 0.45
Average U-value of roof/upper floor ceiling (area-weigthed): | 0.7 | 0.57 | 0.44 | 0.21
Average U-value of ground floor / cellar ceiling insulation (area-weigthed): | 0.73 | 0.65 | 0.55 | 0.37
Average U-value of window insulation (area-weigthed): | 1.95 | 1.8 | 1.61 | 1.24
Main Heat Supply Systems for Space Heating
Centralisation of space heating system |  |  |  |  | percentages related to....
district heating | 5.9% | 5.9% | 5.9% | 5.9% | total floor area
building / apartment heating | 90.3% | 90.1% | 91.1% | 92.1%
room heating | 3.8% | 4% | 3% | 2%
Main energy carrier for space heating |  |  |  |  | percentages related to....
district heating | 5.9% | 6% | 6% | 6% | total floor area
gas (natural / liquid gas) | 89.4% | 89% | 88% | 85%
oil | 0% | 0% | 0% | 0%
coal | 0% | 0% | 0% | 0%
wood/biomass | 4.7% | 5% | 6% | 9%
electricity | 0% | 0% | 0% | 0
Main heat generation system for space heating |  |  |  |  | percentages related to....
district heating | 5.9% | 6% | 6% | 6% | total floor area
non-condensing gas boiler, apartment heating | 89.4% | 75% | 56% | 11%
condensing gas boiler, apartment heating | 0% | 14% | 32% | 74%
wood stove | 4.7% | 5% | 6% | 9%
Operational Indicators
Scenario C
| 2015 (Basic Case) | 2020 | 2030 | 2050
| bs2015 | bs…2012¦2020 | bs…2012¦2030 | bs…2012¦2050
Directly heated part of the reference floor area | 100% | 100% | 100% | 100% | in %
Daily operating time of heating system | 24 | 24 | 24 | 24 | h/d
Set-point temperature heating system | 20 | 20 | 20 | 20 | °C
Average temperature directly heated part | 20 | 20 | 20 | 20 | °C (heating period)
Average temperature not directly heated part | 20 | 20 | 20 | 20 | °C (heating period)
Length of heating period | 180 | 180 | 180 | 180 | d/a
Average external air temperature during heating period | 3.6 | 3.6 | 3.6 | 3.6 | °C

## Energy Balance <1>
Energy Balance Indicators <1>
Scenario "Trend", all values in GWh/yr (106 kWh/yr) |  | 2015 (Basic Case) | 2020 | 2030 | 2050
|  | bs2015 | bs2020 | bs2030 | bs2050
TABULA/EPISCOPE reference area [103 m²] |  | 1311 | 1432 | 1550 | 1756
Required heat amounts
Qnd | Net heat need (space heating and DHW)* | 194.7 | 197.4 | 196.3 | 181.1
Qtotal | Supplied heat (space heating and DHW)** | 294.9 | 299.9 | 299.1 | 272.2
Final energy demand by energy carrier (delivered energy, gross calorific value)
1 | natural gas | 214 | 217.8 | 217.4 | 198
2 | liquid gas | 0 | 0 | 0 | 0
3 | oil | 0 | 0 | 0 | 0
4 | coal | 0 | 0 | 0 | 0
5 | wood / biomass | 55.9 | 56.9 | 56.7 | 51.6
6 | district heating | 13 | 12.9 | 12.8 | 11.4
7 | electric energy (used for heat supply)*** | 9.8 | 10 | 10 | 9.1
Sum of energy carriers (1-7) |  | 292.7 | 297.6 | 296.9 | 270.1
CO2 emissions (thousand tons / year) |  | 59.7 | 60.6 | 60.4 | 54.7
Remarks:
*) Energy need for heating and DHW
**) Total amount of heat generated by technical installations in the building (for heating and DHW: sum of net heat need + storage losses + distribution and emission losses + heat recovered by ventilation systems).
***) e.g. auxiliary electric energy for control, pumps, fans of heat supply and ventilation systems is included
Reference area related values in kWh/(m²a) |  | 2015 (Basic Case) | 2020 | 2030 | 2050
Scenario "Trend" |  | bs2015 | bs2020 | bs2030 | bs2050
TABULA/EPISCOPE reference area [10^3m²] |  | 1311 | 1432 | 1550 | 1756
Required heat amounts
Qnd | Net heat need (space heating and DHW)* | 148.5126 | 137.8492 | 126.6452 | 103.1321
Qtotal | Supplied heat (space heating and DHW)** | 224.9428 | 209.4274 | 192.9677 | 155.0114
Final energy demand by energy carrier (delivered energy, gross calorific value)
1 | natural gas | 163.2342 | 152.095 | 140.2581 | 112.7563
2 | liquid gas | 0 | 0 | 0 | 0
3 | oil | 0 | 0 | 0 | 0
4 | coal | 0 | 0 | 0 | 0
5 | wood / biomass | 42.6392 | 39.7346 | 36.5806 | 29.385
6 | district heating | 9.9161 | 9.0084 | 8.2581 | 6.492
7 | electric energy (used for heat supply)*** | 7.4752 | 6.9832 | 6.4516 | 5.1822
Sum of energy carriers (1-7) |  | 223.2647 | 207.8212 | 191.5484 | 153.8155
CO2 emissions (kg / m² / year) |  | 45.5378 | 42.3184 | 38.9677 | 31.1503
Remarks:
*) Energy need for heating and DHW
**) Total amount of heat generated by technical installations in the building (for heating and DHW: sum of net heat need + storage losses + distribution and emission losses + heat recovered by ventilation systems).
Values related to the reference area
Powers of ten used in the table above
| Area | 3 | 1000 | m²
| Energy | 6 | 1000000 | kWh/yr

## Energy Balance <2>
Energy Balance Indicators <2>
Scenario C, all values in GWh/yr (106 kWh/yr) |  | 2015 (Basic Case) | 2020 | 2030 | 2050
|  | bs2015 | bs2020 | bs2030 | bs2050
TABULA/EPISCOPE reference area [103 m²] |  | 1311 | 1432 | 1550 | 1756
Required heat amounts
Qnd | Net heat need (space heating and DHW)* | 194.7 | 187.2 | 167.3 | 111.4
Qtotal | Supplied heat (space heating and DHW)** | 294.9 | 285.9 | 259.5 | 178.4
Final energy demand by energy carrier (delivered energy, gross calorific value)
1 | natural gas | 214 | 190.3 | 141.5 | 54.8
2 | liquid gas | 0 | 0 | 0 | 0
3 | oil | 0 | 0 | 0 | 0
4 | coal | 0 | 0 | 0 | 0
5 | wood / biomass | 55.9 | 60.7 | 66.6 | 61.1
6 | district heating | 13 | 12.6 | 12 | 9.2
7 | electric energy (used for heat supply)*** | 9.8 | 9.5 | 8.7 | 5.9
Sum of energy carriers (1-7) |  | 292.7 | 273.1 | 228.8 | 131
CO2 emissions (thousand tons / year) |  | 59.7 | 57.8 | 52.4 | 35.9
Remarks:
*) Energy need for heating and DHW
**) Total amount of heat generated by technical installations in the building (for heating and DHW: sum of net heat need + storage losses + distribution and emission losses + heat recovered by ventilation systems).
**) e.g. auxiliary electric energy for control, pumps, fans of heat supply and ventilation systems is included
Reference area related values in kWh/(m²a) |  | 2015 (Basic Case) | 2020 | 2030 | 2050
Scenario C |  | bs2015 | bs2020 | bs2030 | bs2050
TABULA/EPISCOPE reference area [10^3m²] |  | 1311 | 1432 | 1550 | 1756
Required heat amounts
Qnd | Net heat need (space heating and DHW)* | 148.5126 | 130.7263 | 107.9355 | 63.4396
Qtotal | Supplied heat (space heating and DHW)** | 224.9428 | 199.6508 | 167.4194 | 101.5945
Final energy demand by energy carrier (delivered energy, gross calorific value)
1 | natural gas | 163.2342 | 132.8911 | 91.2903 | 31.2073
2 | liquid gas | 0 | 0 | 0 | 0
3 | oil | 0 | 0 | 0 | 0
4 | coal | 0 | 0 | 0 | 0
5 | wood / biomass | 42.6392 | 42.3883 | 42.9677 | 34.795
6 | district heating | 9.9161 | 8.7989 | 7.7419 | 5.2392
7 | electric energy (used for heat supply)*** | 7.4752 | 6.6341 | 5.6129 | 3.3599
Sum of energy carriers (1-7) |  | 223.2647 | 190.7123 | 147.6129 | 74.6014
CO2 emissions (kg / m² / year) |  | 45.5378 | 40.3631 | 33.8065 | 20.4442
Remarks:
*) Energy need for heating and DHW
**) Total amount of heat generated by technical installations in the building (for heating and DHW: sum of net heat need + storage losses + distribution and emission losses + heat recovered by ventilation systems).
Values related to the reference area
Powers of ten used in the table above
| Area | 3 | 1000 | m²
| Energy | 6 | 1000000 | kWh/yr

## Summary Indicators
Summary Indicators
Year |  |  | 2015 (basic case) | 2020 | 2030 | 2050
Reference area | National reference area | [m²] | 1311000 | 1432000 | 1550000 | 1756000
| EPISCOPE reference area | [m²] | 1311000 | 1432000 | 1550000 | 1756000
CO2 emissions | <1> Scenario "Trend" | kg/m²yr | 73.5224 | 68.3154 | 62.84 | 50.2672
| <2> Scenario "Target-oriented / basic" | kg/m²yr |  | 65.1629 | 54.5483 | 32.9914
| EPISCOPE benchmark | kg/m²yr |  | 63.9326 | 43.5185 | 13.7182
| National benchmark | kg/m²yr |  | 75.8741 | 62.1692 | 15.4664
Total heat demand | <1> Scenario "Trend" | kWh/(m²yr) | 239.628 | 222.4187 | 204.2486 | 166.3241
| <2> Scenario "Target-oriented / basic" | kWh/(m²yr) |  | 210.8565 | 174.0695 | 102.3781
CO2 emission factor heat supply | <1> Scenario "Trend" | kg/kWh | 0.30682 | 0.30715 | 0.30766 | 0.30222
| <2> Scenario "Target-oriented / basic" | kg/kWh |  | 0.30904 | 0.31337 | 0.32225
Values related to EPISCOPE Reference Area

## Basic Case Details
Basic Case Details - Scenario and Energy Balance Indicators by Building Type
|  |  |  | Building Stock |  |  |  | HU | Local |  |  | Local building stock of Budaörs, Hungary | [15 empty] | Year | 2015
|  |  |  | Details |  |  |  | national average buildings applied for the case study, BME model / based on a survey involving 2000 buildings in 2015 | Local building stock of Budaörs, Hungary | Local building stock of Budaörs, Hungary | Local building stock of Budaörs, Hungary | Local building stock of Budaörs, Hungary | Local building stock of Budaörs, Hungary | Local building stock of Budaörs, Hungary | Local building stock of Budaörs, Hungary | Local building stock of Budaörs, Hungary | Local building stock of Budaörs, Hungary | Local building stock of Budaörs, Hungary | Local building stock of Budaörs, Hungary | Local building stock of Budaörs, Hungary | Local building stock of Budaörs, Hungary | Local building stock of Budaörs, Hungary | Local building stock of Budaörs, Hungary | Local building stock of Budaörs, Hungary | Local building stock of Budaörs, Hungary | Local building stock of Budaörs, Hungary | Local building stock of Budaörs, Hungary | Local building stock of Budaörs, Hungary | Local building stock of Budaörs, Hungary | Local building stock of Budaörs, Hungary
Annotations to this sheet
[9 empty] | 1 |  | 2 |  | 3 |  | 4 |  | 5 |  | 6 |  | 7 |  | 8 |  | 9 |  | 10
|  | Building type / label | [6 empty] | SFH.01 |  | MFH.01 |  | AB.01 |  | SFH.02 |  | MFH.02
Building size category
Construction time band
| General Data | [5 empty] | Total
|  | Number of buildings |  |  |  |  | 6033 | 0 | 3584 | 0 | 0 | 0 | 24 | 0 | 2318 | 0 | 107 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 10^3
|  | Number of dwellings |  |  |  |  | 10876 | 0 | 4712 | 0 | 0 | 0 | 2357 | 0 | 3162 | 0 | 645 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 10^3
|  | Floor area national | [6 empty] | 594.489 | 0 | 0 | 0 | 139.47 | 0 | 490.961 | 0 | 85.899 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 10^6 m²
|  | Floor area TABULA |  |  |  |  | 1310.819 | 0 | 594.489 | 0 | 0 | 0 | 139.47 | 0 | 490.961 | 0 | 85.899 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 10^6 m²
Building Insulation
Original state / not refurbished fraction of the envelope area
U-values of the original state
|  |  | Roof | [5 empty] | 0.95 |  | 0.85 |  | 0.62 |  | 0.33569 |  | 0.30624 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | W/(m²K)
|  |  | Wall | [5 empty] | 1.2 |  | 1.23 |  | 1.13 |  | 0.52 |  | 0.52 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | W/(m²K)
|  |  | Window | [5 empty] | 2.86 |  | 2.59 |  | 2.81 |  | 1.78 |  | 1.76 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | W/(m²K)
|  |  | Floor | [5 empty] | 1.0155 |  | 0.98712 |  | 1.0718 |  | 0.58941 |  | 0.53599 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | W/(m²K)
Refubishments (averages)
Refurbished fraction of envelope areas
|  |  | Roof | [5 empty] | 9.2% |  | 3.6% |  | 14.1% |  | 5.67% |  | 0.8198% |  | 0% |  | 0% |  | 0% |  | 0% |  | 0%
|  |  | Wall | [5 empty] | 11.5% |  | 6.6% |  | 14.9% |  | 8.3% |  | 1.9% |  | 0% |  | 0% |  | 0% |  | 0% |  | 0%
|  |  | Window | [5 empty] | 19.7% |  | 20.8% |  | 33.5% |  | 6.8% |  | 2% |  | 0% |  | 0% |  | 0% |  | 0% |  | 0%
|  |  | Floor | [5 empty] | 0.5657% |  | 0.2847% |  | 6.94% |  | 0.1941% |  | 0.8504% |  | 0% |  | 0% |  | 0% |  | 0% |  | 0%
|  |  | Total (indicative) | [5 empty] | 8.066% |  | 6.492% |  | 16.92% |  | 5.315% |  | 1.465% |  | 0% |  | 0% |  | 0% |  | 0% |  | 0%
U-values of the refurbished fraction (averages)
|  |  | Roof | [5 empty] | 0.36329 |  | 0.34765 |  | 0.22282 |  | 0.24608 |  | 0.14973 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | W/(m²K)
|  |  | Wall | [5 empty] | 0.51064 |  | 0.51599 |  | 0.34663 |  | 0.32808 |  | 0.32808 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | W/(m²K)
|  |  | Window | [5 empty] | 1.55 |  | 1.55 |  | 1.76 |  | 1.18 |  | 1.18 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | W/(m²K)
|  |  | Floor | [5 empty] | 0.61224 |  | 0.54247 |  | 0.58723 |  | 0.46904 |  | 0.35789 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | W/(m²K)
Main Heat Supply Systems
Ventilation Systems with Heat Recovery
Occurances
Heating Systems
Occurances or Fractions of Produced Heat
|  | 1 | Gas |  | B_NC_CT |  |  | C | 20.7% | 0% |  | 0% | 8.6% | 0% | 35.3% | 0% | 29.8% | 0% |  | 0% |  | 0% |  | 0% |  | 0% |  | 0%
|  | 2 | DH |  |  |  |  | C | 0% | 0% |  | 0% | 72.3% | 0% | 0% | 0% | 6.5% | 0% |  | 0% |  | 0% |  | 0% |  | 0% |  | 0%
|  | 3 | El |  | E |  |  | D | 1.8% | 0% |  | 0% | 0% | 0% | 1.2% | 0% | 2% | 0% |  | 0% |  | 0% |  | 0% |  | 0% |  | 0%
|  | 4 | Gas |  | B_NC_CT |  |  | D | 48.4% | 0% |  | 0% | 18.7% | 0% | 53.8% | 0% | 61.7% | 0% |  | 0% |  | 0% |  | 0% |  | 0% |  | 0%
|  | 5 | Bio_Wood |  | Stove_S |  |  | D | 29.1% | 0% |  | 0% | 0.3% | 0% | 9.7% | 0% | 0% | 0% |  | 0% |  | 0% |  | 0% |  | 0% |  | 0%
|  | 6 | [7 empty] | 0% |  | 0% |  | 0% |  | 0% |  | 0% |  | 0% |  | 0% |  | 0% |  | 0% |  | 0%
|  | 7 | [7 empty] | 0% |  | 0% |  | 0% |  | 0% |  | 0% |  | 0% |  | 0% |  | 0% |  | 0% |  | 0%
|  | 8 | [7 empty] | 0% |  | 0% |  | 0% |  | 0% |  | 0% |  | 0% |  | 0% |  | 0% |  | 0% |  | 0%
|  | 9 | [7 empty] | 0% |  | 0% |  | 0% |  | 0% |  | 0% |  | 0% |  | 0% |  | 0% |  | 0% |  | 0%
|  | 10 | [7 empty] | 0% |  | 0% |  | 0% |  | 0% |  | 0% |  | 0% |  | 0% |  | 0% |  | 0% |  | 0%
|  | 11 | [7 empty] | 0% |  | 0% |  | 0% |  | 0% |  | 0% |  | 0% |  | 0% |  | 0% |  | 0% |  | 0%
|  | 12 | [7 empty] | 0% |  | 0% |  | 0% |  | 0% |  | 0% |  | 0% |  | 0% |  | 0% |  | 0% |  | 0%
|  | 13 | [7 empty] | 0% |  | 0% |  | 0% |  | 0% |  | 0% |  | 0% |  | 0% |  | 0% |  | 0% |  | 0%
|  | 14 | [7 empty] | 0% |  | 0% |  | 0% |  | 0% |  | 0% |  | 0% |  | 0% |  | 0% |  | 0% |  | 0%
|  | 15 | [7 empty] | 0% |  | 0% |  | 0% |  | 0% |  | 0% |  | 0% |  | 0% |  | 0% |  | 0% |  | 0%
|  | 16 | [7 empty] | 0% |  | 0% |  | 0% |  | 0% |  | 0% |  | 0% |  | 0% |  | 0% |  | 0% |  | 0%
|  | 17 | [7 empty] | 0% |  | 0% |  | 0% |  | 0% |  | 0% |  | 0% |  | 0% |  | 0% |  | 0% |  | 0%
|  | 18 | [7 empty] | 0% |  | 0% |  | 0% |  | 0% |  | 0% |  | 0% |  | 0% |  | 0% |  | 0% |  | 0%
|  | 19 | [7 empty] | 0% |  | 0% |  | 0% |  | 0% |  | 0% |  | 0% |  | 0% |  | 0% |  | 0% |  | 0%
|  | 20 | [7 empty] | 0% |  | 0% |  | 0% |  | 0% |  | 0% |  | 0% |  | 0% |  | 0% |  | 0% |  | 0%
|  |  | Sum | [5 empty] | 100% | 0% |  | 0% | 99.9% | 0% | 100% | 0% | 100% | 0% |  | 0% |  | 0% |  | 0% |  | 0% |  | 0%
|  |  |  | thereof |  | central |  |  | 20.7% | 0% | 0% | 0% | 80.9% | 0% | 35.3% | 0% | 36.3% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0%
[6 empty] | decentral |  |  | 79.3% | 0% | 0% | 0% | 19% | 0% | 64.7% | 0% | 63.7% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0%
|  |  | Other Systems | [5 empty] | 0% | 0% |  | 0% | 0.1% | 0% | 0% | 0% | 0% | 0% |  | 0% |  | 0% |  | 0% |  | 0% |  | 0%
DHW Systems
Occurances or Fractions of Produced Heat
|  | 1 | Gas |  | B_NC_CT |  |  | C | 21.2% | 0% |  | 0% | 8.4% | 0% | 28.5% | 0% | 27.6% | 0% |  | 0% |  | 0% |  | 0% |  | 0% |  | 0%
|  | 2 | DH |  |  |  |  | C | 0% | 0% |  | 0% | 69.8% | 0% | 0% | 0% | 7.2% | 0% |  | 0% |  | 0% |  | 0% |  | 0% |  | 0%
|  | 3 | El |  |  |  |  | D | 0% | 0% |  | 0% | 4.4% | 0% | 16.2% | 0% | 6.7% | 0% |  | 0% |  | 0% |  | 0% |  | 0% |  | 0%
|  | 4 | Gas |  | B_NC_CT |  |  | D | 55.6% | 0% |  | 0% | 17.3% | 0% | 52.3% | 0% | 57% | 0% |  | 0% |  | 0% |  | 0% |  | 0% |  | 0%
|  | 5 | Bio_Wood |  | B_WP |  |  | D | 19.8% | 0% |  | 0% | 0% | 0% | 0% | 0% | 0% | 0% |  | 0% |  | 0% |  | 0% |  | 0% |  | 0%
|  | 6 | [7 empty] | 0% |  | 0% |  | 0% |  | 0% |  | 0% |  | 0% |  | 0% |  | 0% |  | 0% |  | 0%
|  | 7 | [7 empty] | 0% |  | 0% |  | 0% |  | 0% |  | 0% |  | 0% |  | 0% |  | 0% |  | 0% |  | 0%
|  | 8 | [7 empty] | 0% |  | 0% |  | 0% |  | 0% |  | 0% |  | 0% |  | 0% |  | 0% |  | 0% |  | 0%
|  | 9 | [7 empty] | 0% |  | 0% |  | 0% |  | 0% |  | 0% |  | 0% |  | 0% |  | 0% |  | 0% |  | 0%
|  | 10 | [7 empty] | 0% |  | 0% |  | 0% |  | 0% |  | 0% |  | 0% |  | 0% |  | 0% |  | 0% |  | 0%
|  | 11 | [7 empty] | 0% |  | 0% |  | 0% |  | 0% |  | 0% |  | 0% |  | 0% |  | 0% |  | 0% |  | 0%
|  | 12 | [7 empty] | 0% |  | 0% |  | 0% |  | 0% |  | 0% |  | 0% |  | 0% |  | 0% |  | 0% |  | 0%
|  | 13 | [7 empty] | 0% |  | 0% |  | 0% |  | 0% |  | 0% |  | 0% |  | 0% |  | 0% |  | 0% |  | 0%
|  | 14 | [7 empty] | 0% |  | 0% |  | 0% |  | 0% |  | 0% |  | 0% |  | 0% |  | 0% |  | 0% |  | 0%
|  | 15 | [7 empty] | 0% |  | 0% |  | 0% |  | 0% |  | 0% |  | 0% |  | 0% |  | 0% |  | 0% |  | 0%
|  | 16 | [7 empty] | 0% |  | 0% |  | 0% |  | 0% |  | 0% |  | 0% |  | 0% |  | 0% |  | 0% |  | 0%
|  | 17 | [7 empty] | 0% |  | 0% |  | 0% |  | 0% |  | 0% |  | 0% |  | 0% |  | 0% |  | 0% |  | 0%
|  | 18 | [7 empty] | 0% |  | 0% |  | 0% |  | 0% |  | 0% |  | 0% |  | 0% |  | 0% |  | 0% |  | 0%
|  | 19 | [7 empty] | 0% |  | 0% |  | 0% |  | 0% |  | 0% |  | 0% |  | 0% |  | 0% |  | 0% |  | 0%
|  | 20 | [7 empty] | 0% |  | 0% |  | 0% |  | 0% |  | 0% |  | 0% |  | 0% |  | 0% |  | 0% |  | 0%
|  |  | Sum | [5 empty] | 96.6% | 0% |  | 0% | 99.9% | 0% | 97% | 0% | 98.5% | 0% |  | 0% |  | 0% |  | 0% |  | 0% |  | 0%
|  |  |  | thereof |  | central |  |  | 21.2% | 0% | 0% | 0% | 78.2% | 0% | 28.5% | 0% | 34.8% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0%
[6 empty] | decentral |  |  | 75.4% | 0% | 0% | 0% | 21.7% | 0% | 68.5% | 0% | 63.7% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0%
|  |  | Other Systems | [5 empty] | 3.4% | 0% |  | 0% | 0.1% | 0% | 3% | 0% | 1.5% | 0% |  | 0% |  | 0% |  | 0% |  | 0% |  | 0%
| Energy Balance | [16 empty] | All energy quantities in | MWh/a |  |  |  | Heating + DHW
separate modell: real example buildings (with one representative heating/dhw system)
[7 empty] | fuels related to |  |  | gross | 0% | calorific value
[27 empty] | Total |  | per m²
|  | Net heat need |  |  |  |  | 135466.3569 |  | 0 |  | 13321.2102 |  | 50343.2169 |  | 8797.1891 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 207927.9731 |  | 158.6245
|  | Produced heat |  |  |  |  | 173762.3598 |  | 0 |  | 20465.1924 |  | 83947.2412 |  | 14518.6029 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 292693.3963 |  | 223.2905
|  | Gas |  |  |  | 1.087 | 132385.1876 |  | 0 |  | 9039.757 |  | 76949.9891 |  | 14270.0552 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 232644.9888 |  | 177.4806
|  | Oil |  |  |  | 1.0526 | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0
|  | Coal |  |  |  | 1.0526 | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0
|  | Bio |  |  |  | 1.0526 | 51724.9063 |  | 0 |  | 56.5657 |  | 7019.7687 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 58801.2408 |  | 44.8584
|  | DH |  |  |  |  | 0 |  | 0 |  | 11823.5151 |  | 448.905 |  | 683.7829 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 12956.203 |  | 9.8841
|  | El |  |  |  |  | 2829.3263 |  | 0 |  | 271.3634 |  | 6035.5661 |  | 706.3692 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 9842.6249 |  | 7.5088
|  | Other / not specified |  |  |  |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0
|  | Sum final energy |  |  |  |  | 186939.4201 |  | 0 |  | 21191.2012 |  | 90454.2288 |  | 15660.2073 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 314245.0574 |  | 239.7318
|  | per m² |  |  |  |  | 314.454 |  |  |  | 151.9409 |  | 184.2391 |  | 182.3095
|  | CHP electr. production |  |  |  |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0
Version: |  | 2016-01-21